## אומדן
כתב כמויות - מכרז PD25001053
מק"ט | תיאור פריט ארוך | תאור מוצר | כמות להזמין | יח' | מחיר מוערך ליחידה | סה"כ מחיר מוערך
IE060954 | NXGpro Plus DCR 12 Cell no STO | Spare part for VSD Siemens p/n 6SR0960-0CE12-0AD0 | 1 | יח'
IE060955 | POWER_SPLY_DNR120_264V_24v_5A_YES | Spare part for VSD Siemens p/n 6SR0950-0RM04-0AD0 | 1 | יח'
IE060956 | POWER_SPLY_DNR60_264V_24v_2.5A_YES | Spare part for VSD Siemens p/n 6SR0950-0RM05-0AD0 | 2 | יח'
IE060957 | Circuit Breaker 1 pole_24V_1A | Spare part for VSD Siemens p/n 6SR0950-0RM06-0AD0 | 2 | יח'
IE060958 | NXGpro System Interface Board For general application | Spare part for VSD Siemens p/n 6SR0960-0CC16-0AD0 | 1 | יח'
IE060959 | 24VDC User IO Board | Spare part for VSD Siemens p/n 6SR0960-0CC07-1AD0 | 1 | יח'
IE060960 | NXGpro USER I/O board POWER SUPPLY | Spare part for VSD Siemens p/n 6SR5902-0CM00-0AM0 | 1 | יח'
IE060961 | DEV_CONTROL_SIMATIC HMI, KTP700 BASIC D | Spare part for VSD Siemens p/n 6SR4900-0SM00-0AM0 | 1 | יח'
IE060962 | DEV_CONTROL HMI | Spare part for VSD Siemens p/n 9LD9000-0AW12-0AA0 | 1 | יח'
IE060963 | DEV_OTHER_Anybus_M40_Common_Ethernet_Co | Spare part for VSD Siemens p/n 6SR0960-0DE02-0AD0 | 1 | יח'
IE060964 | Fuse Mini, 500mA, 660V | Spare part for VSD Siemens p/n 6SR3950-0JM21-0AD0 | 3 | יח'
IE060965 | RLY_POWER_RR2KP_24VDC 250VAC 1 contact 10A | Spare part for VSD Siemens p/n 9LD9000-0AE88-0AA0 | 1 | יח'
IE060966 | Accessory relay SR3P-06F3 spring | Spare part for VSD Siemens p/n 6SR0960-0PM34-0AD0 | 1 | יח'
IE060967 | PERFECT HARMONY GH180 Damping resistor 3.3 kV 2.4 Mohm | Spare part for VSD Siemens p/n 6SR0960-0MM24-0AD0 | 3 | יח'
IE060968 | Cable 9-pin between CPU board and WAGO fieldbus coupler | Spare part for VSD Siemens p/n 6SR3960-0QA00-0AM0 | 1 | יח'
IE060969 | ASM I/O Wago system 750-316/300-000 Modbus Fieldbus | Spare part for VSD Siemens p/n 6SR0960-0RA43-0AD0 | 1 | יח'
IE060970 | FIBER OPTIC ASSY, DUPLEX, 9.5M | Spare part for VSD Siemens p/n 6SR0960-0LM16-0AM0 | 6 | יח'
IE060971 | Data cable I/O module, 50-pole, 5FT | Spare part for VSD Siemens p/n 6SR0960-0QA02-0AA0 | 1 | יח'
IE060972 | Power Cell Lift Trolley | Spare part for VSD Siemens p/n 6SR0960-0SM15-0AM0 | 2 | יח'
IE060973 | G5 PERORMANCE CELL 260A, 750V with Bypass | Spare part for VSD Siemens p/n 6SR5902-0AF01-0AM0 | 1 | יח'
IE060974 | G5 CELLFUSE,550A, 1200V | Spare part for VSD Siemens p/n 6SR4900-0JM00-0AD0 | 4 | יח'
IE060975 | CURR TRNSDCR,CLSD LOOP,500A FOR 24V | Spare part for VSD Siemens p/n 6SR5900-0HM00-0AM0 | 1 | יח'
IE060976 | CURR XDUCER BURDEN, 34.00 OHM | Spare part for VSD Siemens p/n 6SR0960-1CM08-0AD0 | 2 | יח'
IE060977 | PCA,BCB-Type 4/5 Coil (100A/200A) | Spare part for VSD Siemens p/n 6SR5900-0EM12-0AD0 | 1 | יח'
IE060978 | BYPASS POWER SUPPLY 40-260A | Spare part for VSD Siemens p/n 6SR5900-0EM00-0AM0 | 1 | יח'
IE060979 | G5 PERORMANCE CELL 340A, 750V with Bypass | Spare part for VSD Siemens p/n 6SR5902-0AG01-0AM0 | 1 | יח'
IE060980 | Fuse_DEVICE_URD_400A-1.3KV | Spare part for VSD Siemens p/n 9LD9000-0BF22-0AA0 | 4 | יח'
IE060981 | CURR TRNSDCR,CLSD LOOP,1000A FOR 24V | Spare part for VSD Siemens p/n 6SR4900-0HM00-0AD0 | 1 | יח'
IE060982 | CURR XDUCER BURDEN, 26.00 OHM | Spare part for VSD Siemens p/n 6SR5900-1CM02-0AD0 | 2 | יח'
IE060983 | PCA W/FIRMWARE, BYPASS CONTROL | Spare part for VSD Siemens p/n 6SR5900-0EM10-0AD0 | 1 | יח'
IE060984 | BYPASS POWER SUPPLY 340-430A | Spare part for VSD Siemens p/n 6SR4900-0EM05-0AM1 | 1 | יח'
IE060985 | Filter_Assembly | Spare part for VSD Siemens p/n 6SR0900-0FM00-0AM0 | 5 | יח'
IE060986 | FILTER MAT | Spare part for VSD Siemens p/n 6SR4900-0FM20-0AM0 | 100 | יח'
IE060987 | FAN_MZ_YWF(K)4D560-GH69A-LD | Spare part for VSD Siemens p/n 9LD9000-0AQ01-0AA0 | 1 | יח'
IE060988 | Power Modul for SINAMICS G120X Rated power: 450 kW | Spare part for VSD Siemens p/n 6SL3220-3YE62-1CB0 | 1 | יח'
IE060989 | Power Modul for SINAMICS G120X Rated power: 250 kW | Spare part for VSD Siemens p/n 6SL3220-3YE54-1CB0 | 1 | יח'
סה"כ לפני מע"מ:
סה"כ לפני מע"מ: